Utkarsh Srivastava

"propose 4 to 5 competencies and course outcomes".

RH1101_Specifications.xlsx93KB

BSDU's Twin

As this response is AI generated, , it may contain some inaccuracies or the information may sometime be obsolete or incomplete. You are advised to carefully verify the specific details from authentic sources.

For RH1101 – HVAC Mathematics, Principles and Tools, BSDU proposes 5 competencies and 6 Course Outcomes. The competencies integrate the selected installation-related performance criteria with the course’s mathematical, measurement, refrigeration-principles, and tool-use requirements.

### Proposed Competencies

- Apply basic mathematics, unit conversions, measurements, and technical data to support HVAC installation planning, site assessment, and supervised field activities.

- Interpret fundamental heat-transfer, refrigeration, air-conditioning, and vapour-compression refrigeration-cycle principles to support room AC installation and operating decisions.

- Assess installation requirements by interpreting work instructions, examining site conditions, and identifying suitable positions for window, split, and inverter AC units.

- Inspect and prepare AC units, packaging, accessories, tools, and installation resources through systematic pre-installation checks using safe workshop and field practices.

- Perform the supervised positioning, mounting, and interconnection of indoor and outdoor AC units using appropriate hand tools, smart tools, copper piping, and electrical interconnections.

### Proposed Course Outcomes

CO1. Apply algebra, ratio, proportion, percentage, averages, decimal calculations, number-system conversions, and SI–FPS unit conversions to solve HVAC-related quantitative problems.

CO2. Calculate area, perimeter, volume, and surface-area requirements for basic HVAC installation layouts, equipment positioning, and material estimation tasks.

CO3. Analyse temperature, pressure, humidity, and other elementary technical measurements to support supervised AC installation planning and field decisions.

CO4. Relate heat-transfer modes, refrigeration principles, and vapour-compression refrigeration-cycle processes to the operating requirements of room AC systems.

CO5. Examine work instructions, site conditions, AC-unit packaging, model details, and supporting accessories to determine readiness for supervised installation activities.

CO6. Employ appropriate HVAC hand tools and relevant smart tools to position, secure, and interconnect indoor and outdoor AC units under guided conditions.

These COs are deliberately more course-specific than the competencies and provide assessable evidence through calculations, site-assessment exercises, inspection checklists, tool-handling demonstrations, and supervised installation tasks. As John Dewey observed, “Education is not preparation for life; education is life itself.” This reflects BSDU’s Industry-Integrated Practice-Based Education: Learn, Practice, Perform. Succeed.

See what 1 more expert would say

Request review

Utkarsh Srivastava

"Design the syllabus containing 5 units."

BSDU's Twin

As this response is AI generated, , it may contain some inaccuracies or the information may sometime be obsolete or incomplete. You are advised to carefully verify the specific details from authentic sources.

At BSDU, we propose the following five-unit syllabus for RH1101: HVAC Mathematics, Principles and Tools, B.Voc. in Refrigeration and HVAC Technology, Semester I. The structure retains the approved 30 theory hours and 30 practical hours and progressively supports CO1–CO6.

| Unit | Unit Title | Knowledge Topics | Practical Exercises, Deliberate Practice and Integrated Activities | Hours (T+P) | COs |
| --- | --- | --- | --- | --- | --- |
| I | Fundamentals of Mathematics and Technical Units | BODMAS rule; ratio; proportion; percentage; average; linear equations in two unknowns using graphical method; decimal calculations; decimal, binary, octal and hexadecimal number systems; SI and FPS unit conversions. | Convert technical quantities between SI and FPS systems using MS Excel; calculate percentages, averages, ratios, and service-related quantities; solve linear-equation problems involving simple HVAC work situations; reflect on the consequences of incorrect unit conversion during installation. | 5+4=9 | CO1 |
| II | Geometry, Measurement and Basic Statistics for HVAC Work | Area and perimeter of two-dimensional shapes; volume and surface area of three-dimensional shapes; collection and tabular presentation of data; mean, median, and mode of grouped and ungrouped data. IKS integration: Ganita, Kshetra Ganita, mensuration, solid geometry, logical reasoning, and data interpretation. | Calculate areas, perimeters, volumes, and surface areas using HVAC-related layouts and components; use Excel formulas to compute area, volume, mean, median, and mode; organise a small data set in tabular form; collaboratively interpret measurement and data variation. | 8+9=17 | CO1 |
| III | Basics of Heat Transfer in HVAC Systems | Definition of heat transfer; conduction, convection, and radiation; thermal conductivity of solids, liquids, and gases; free and forced convection; relevance of heat transfer to cooling performance. IKS integration: traditional engineering and technology practices associated with the Vishwakarma tradition. | Demonstrate free and forced convection; compare heat transfer through selected materials; observe airflow-related cooling conditions; analyse how restricted airflow or dirty heat-transfer surfaces can affect AC performance; record observations and corrective suggestions. | 7+5=12 | CO2 |
| IV | Refrigeration, Air-Conditioning and Vapour Compression Refrigeration Cycle | Difference between refrigeration and air-conditioning; purpose and sequence of the VCRC; basic functions of compressor, condenser, evaporator, and expansion device; refrigerant flow direction and elementary operating conditions. | Identify VCRC components on a training system; trace refrigerant flow; record available operating-pressure observations under supervision; prepare a labelled VCRC schematic; analyse a simple insufficient-cooling case by relating it to heat transfer and cycle components. | 5+4=9 | CO2, CO3 |
| V | Introduction to HVAC Tools, Smart Tools and Safety | Introduction to tools used for HVAC installation and servicing; tools used in sheet-metal and duct work; safe handling of tools and equipment; basic role of smart tools in AC installation; pre-installation checks of unit packaging and accessories. | Identify and safely use thermometer, manometer, hygrometer, spirit level, pliers, bender, brazing torch, vacuuming machine, refrigerant cylinder, and leak detector; inspect an AC package and accessories; practise basic positioning, levelling, copper-pipe handling, and cable-interconnection preparation under guidance; complete tool-use and safety checklists. | 5+8=13 | CO3, CO4, CO5, CO6 |

Total Hours: 30 Theory + 30 Practical = 60 Hours

### Integrated Problem-Solving Tasks

- Convert a pressure or dimensional value from one unit system to another and identify the risk of an incorrect interpretation during AC installation.

- Calculate the area and approximate dimensions required for a simple HVAC layout or airflow-related application.

- Analyse poor cooling by examining airflow, heat-transfer surfaces, and basic VCRC component functions.

- Inspect an AC package against a work requirement and verify the availability of accessories before installation.

- Select suitable tools for a supervised installation activity and justify safety precautions before use.

This syllabus follows a progression from quantitative foundations to measurement, thermal principles, refrigeration-cycle understanding, and safe tool-based practice. It supports active and experiential learning through worked calculations, observation, collaborative inquiry, supervised demonstrations, reflective records, and increasingly integrated problem-solving. As John Dewey observed, “Education is not preparation for life; education is life itself.” This reflects BSDU’s Industry-Integrated Practice-Based Education: Learn, Practice, Perform. Succeed.

Request review

Utkarsh Srivastava

prepare theory lesson sequence for unit 3 for 50 minutes each and make it more project centric deductive approach.

BSDU's Twin

As this response is AI generated, , it may contain some inaccuracies or the information may sometime be obsolete or incomplete. You are advised to carefully verify the specific details from authentic sources.

At BSDU, Unit III—Basics of Heat Transfer—has 7 theory hours. The following sequence uses a project-centric deductive approach: each lesson begins with explicit explanation and worked illustrations, followed by a structured increment of a common mini-project.

### Unit III Theory Topics

- Definition and modes of heat transfer

- Thermal conductivity of solids, liquids, and gases

- Free and forced convection

### Common Mini-Project

Project Title: Heat-Gain and Airflow Improvement Brief for a Room AC Installation

Project Brief: Student teams prepare a short illustrated recommendation explaining how conduction, convection, and radiation may affect cooling in a selected room, and propose practical measures related to room surfaces, airflow, and AC-unit placement. The final output is a two-page project brief with labelled sketches and technically justified recommendations.

### Lesson Sequence: 7 × 50 Minutes

| Lesson | Lesson Title | Lesson Outcomes | Project Increment / Deliverable |
| --- | --- | --- | --- |
| 1 | Heat Transfer in Room Cooling | Classify everyday heat-gain situations into conduction, convection, and radiation; relate heat gain to room AC cooling requirement. | Project context analysis and initial room sketch |
| 2 | Conduction through Building Materials | Explain heat conduction through solid materials; compare likely heat-flow paths through walls, roofs, windows, and doors. | Identify conductive heat-gain paths |
| 3 | Thermal Conductivity and Material Choice | Analyse how thermal conductivity influences heat transfer through solids, liquids, and gases; justify material-related measures for reducing heat gain. | Material comparison table and recommendations |
| 4 | Convection and Air Movement | Differentiate free and forced convection; relate airflow to heat removal and room cooling. | Airflow-path sketch |
| 5 | Free Convection in HVAC Contexts | Analyse natural airflow patterns around warm and cool surfaces; identify conditions that may reduce effective cooling. | Diagnose two free-convection-related issues |
| 6 | Forced Convection and AC Performance | Relate forced airflow to indoor and outdoor AC-unit performance; evaluate the likely effects of airflow restriction. | Improvement recommendations for airflow |
| 7 | Integrated Heat-Transfer Analysis | Integrate conduction, convection, and radiation concepts to justify room cooling and AC-placement recommendations. | Final project brief and team presentation |

## Lesson 1: Heat Transfer in Room Cooling

| Time | Teaching–Learning Flow | Faculty Role | Student Activity | Evidence / Formative Check |
| --- | --- | --- | --- | --- |
| 0–5 min | Present the project brief: a room remains uncomfortable despite an operating AC. Show a simple room sketch with wall, roof, window, door, occupants, and AC unit. | Explain the expected project output, team roles, and quality criteria. | Form groups and inspect the room sketch. | Groups identify two possible sources of heat gain. |
| 5–15 min | Explain heat transfer as movement of thermal energy due to temperature difference. Introduce conduction, convection, and radiation with HVAC-relevant examples. | Deliver a concise deductive explanation using diagrams and familiar examples. | Take guided notes and respond to concept-check questions. | Students classify examples as conduction, convection, or radiation. |
| 15–25 min | Work through a labelled example: solar heat entering through glass, heat transfer through a roof, and warm air entering through an open door. | Model the reasoning process and make distinctions explicit. | Complete missing labels in a worksheet. | Worksheet review through peer comparison. |
| 25–38 min | Guided project task: teams mark likely sources of heat gain and heat transfer modes on the room sketch. | Provide a heat-transfer identification checklist and scaffold teams through questions. | Prepare an annotated room sketch. | Each group identifies at least one example of each heat-transfer mode. |
| 38–45 min | Conduct a brief gallery walk and peer critique. | Ask teams to challenge incorrect classifications respectfully. | Review another team’s sketch and suggest one correction. | Peer-feedback note. |
| 45–50 min | Consolidate key distinctions and assign reflection. | Clarify common misconceptions, especially that all heat transfer in a room is not convection. | Write: “Which heat-transfer mode may be most significant near a sun-facing window, and why?” | Individual exit ticket. |

## Lesson 2: Conduction through Building Materials

| Time | Teaching–Learning Flow | Faculty Role | Student Activity | Evidence / Formative Check |
| --- | --- | --- | --- | --- |
| 0–5 min | Recall Lesson 1 through a short classification quiz. | Facilitate retrieval and connect responses to the project. | Answer three rapid questions individually. | Quick oral responses. |
| 5–15 min | Explain conduction as heat transfer through a material without bulk movement of the material. Relate it to walls, roofs, doors, window frames, and copper tubing. | Use diagrams to explain hot-side to cold-side heat flow. | Observe diagrams and note heat-flow direction. | Students indicate heat-flow direction on a sample wall section. |
| 15–25 min | Present a worked example comparing a sun-exposed roof and a shaded wall. Explain why surface exposure and material layer affect heat gain. | Demonstrate how to identify conductive pathways systematically. | Discuss why the room may gain heat even when doors are closed. | Think-pair-share response. |
| 25–38 min | Guided project task: teams identify conductive pathways in their selected room sketch and prioritise them as high, medium, or low concern. | Provide a structured pathway-identification sheet. | Mark roof, walls, window frame, door, and other relevant pathways. | Completed project worksheet. |
| 38–45 min | Use a short problem-solving question: “Why might an AC run longer in a top-floor room with an exposed roof?” | Encourage cause-and-effect reasoning rather than one-word answers. | Develop a two-part explanation with a peer. | Written response linking roof heat gain and cooling load. |
| 45–50 min | Debrief and reflection. | Summarise conduction-related ideas needed for the next lesson. | Record one design or operational measure that could reduce conductive heat gain. | Reflection note. |

## Lesson 3: Thermal Conductivity and Material Choice

| Time | Teaching–Learning Flow | Faculty Role | Student Activity | Evidence / Formative Check |
| --- | --- | --- | --- | --- |
| 0–5 min | Revisit project sketches and ask: “Do all building materials transfer heat at the same rate?” | Create manageable cognitive dissonance through contrasting examples. | Predict which of several materials may permit faster heat transfer. | Prediction poll. |
| 5–18 min | Explain thermal conductivity and compare its relevance for solids, liquids, and gases. Relate the concept to metal, insulation materials, air gaps, walls, and piping. | Teach the principle deductively using a comparative table. | Record comparison notes and ask clarification questions. | Students complete missing entries in a thermal-conductivity comparison table. |
| 18–28 min | Present a worked comparison: metal surface, insulated surface, and air gap in a room-cooling situation. | Explain why a material recommendation must be related to the heat-transfer path. | Analyse the example in pairs. | Pair response: select the better option and justify it. |
| 28–40 min | Project task: teams prepare a simple material comparison table for two or three room elements, such as roof, wall, window, or piping. | Guide students to avoid unsupported assumptions and focus on basic comparative reasoning. | Prepare a table with heat-gain concern and possible improvement measure. | Table checked using a short rubric: relevance, correctness, justification. |
| 40–46 min | Collaborative review: teams compare recommendations and identify one limitation in their analysis. | Facilitate peer feedback and metacognitive reflection. | Exchange work and provide one evidence-based comment. | Peer-review note. |
| 46–50 min | Consolidation. | Reinforce the relation between thermal conductivity and practical heat-gain control. | Write one statement beginning: “For reducing conductive heat gain, a lower-conductivity material is useful because…” | Exit response. |

## Lesson 4: Convection and Air Movement

| Time | Teaching–Learning Flow | Faculty Role | Student Activity | Evidence / Formative Check |
| --- | --- | --- | --- | --- |
| 0–5 min | Present two situations: warm air rising near a roof and air moved by an AC indoor-unit blower. | Link the situations to the next project increment. | Identify what differs between the two situations. | Oral responses. |
| 5–18 min | Explain convection, bulk fluid movement, free convection, and forced convection. Relate these to room air circulation and heat exchange at AC coils. | Use a labelled airflow diagram and explicit definitions. | Annotate airflow arrows on a handout. | Students distinguish air movement caused by temperature difference from fan-driven movement. |
| 18–28 min | Work through an AC-room airflow illustration: supply air, return air, warm air near ceiling, and possible stagnant zones. | Explain that airflow distribution influences perceived comfort and cooling effectiveness. | Identify likely airflow paths and dead zones. | Individual diagram-labeling check. |
| 28–40 min | Project task: teams add airflow arrows to their room sketch and identify two areas where airflow could be weak or obstructed. | Provide prompts concerning furniture, curtains, partitions, doors, and unit position. | Develop a labelled airflow-path sketch. | Team sketch with two identified airflow concerns. |
| 40–46 min | Open-ended discussion: “Can an AC operate while a part of the room remains uncomfortable? Explain.” | Invite alternative explanations but require technical justification. | Discuss in groups and report one reasoned answer. | Short group explanation. |
| 46–50 min | Reflection. | Connect the lesson with the forthcoming focus on free convection. | Write one question about airflow that the team needs to investigate. | Learning-log entry. |

## Lesson 5: Free Convection in HVAC Contexts

| Time | Teaching–Learning Flow | Faculty Role | Student Activity | Evidence / Formative Check |
| --- | --- | --- | --- | --- |
| 0–5 min | Review the difference between free and forced convection with a sorting activity. | Check prior understanding before extending it. | Sort four examples into free or forced convection. | Response cards. |
| 5–15 min | Explain how temperature differences create density differences and natural air movement. Use room-level examples such as warm air accumulating near roofs and cool air settling lower. | Provide a concise deductive explanation supported by diagrams. | Trace natural airflow paths in a sample room. | Students draw directional arrows correctly. |
| 15–25 min | Present a troubleshooting case: a room cools slowly even though the AC is operating; the roof is heated by sunlight and warm air accumulates near the ceiling. | Model how to connect heat gain, free convection, and cooling demand. | Analyse causes and possible effects in pairs. | Pair cause–effect map. |
| 25–38 min | Project task: each team identifies two free-convection patterns that may affect its room design and records their possible consequence. | Ask probing questions and ensure terminology is used accurately. | Add observations and implications to project notes. | Project logbook entry. |
| 38–45 min | Peer teaching: one member from each group explains one identified pattern to another group. | Observe conceptual accuracy and provide corrective feedback. | Explain and challenge each other’s reasoning. | Peer explanation checklist. |
| 45–50 min | Consolidation question: “Why can ceiling-level heat affect room cooling even if occupants are seated below?” | Clarify the connection between vertical temperature variation and AC load. | Submit a concise written explanation. | Exit ticket. |

## Lesson 6: Forced Convection and AC Performance

| Time | Teaching–Learning Flow | Faculty Role | Student Activity | Evidence / Formative Check |
| --- | --- | --- | --- | --- |
| 0–5 min | Display images of a clean air filter, blocked air filter, unobstructed outdoor unit, and obstructed outdoor unit. | Ask students to predict which conditions may affect heat exchange. | Make predictions individually. | Prediction sheet. |
| 5–18 min | Explain forced convection through fans and blowers, and relate airflow over evaporator and condenser surfaces to heat transfer. | Use an indoor-unit and outdoor-unit schematic to explain the concept. | Annotate airflow routes on diagrams. | Diagram completion. |
| 18–28 min | Present a worked problem-solving question: “How can restricted condenser airflow influence cooling performance?” | Demonstrate structured reasoning: observe condition → identify heat-transfer effect → state likely consequence. | Complete a guided cause-and-effect chain. | Written chain reviewed in class. |
| 28–40 min | Project task: teams propose two airflow-related improvements for their room or AC placement plan and justify each through forced-convection principles. | Ensure recommendations are feasible within the project scenario. | Add recommendations to the draft project brief. | Recommendations checked for concept–recommendation alignment. |
| 40–46 min | Conduct a collaborative critique: teams assess whether another group’s recommendations are technically justified. | Use a simple review criterion: relevance, clarity, heat-transfer logic. | Provide peer feedback. | Peer-review sheet. |
| 46–50 min | Prepare for final integration. | Summarise the distinction between free and forced convection. | Identify one revision required in the group’s project sketch. | Revision note. |

## Lesson 7: Integrated Heat-Transfer Analysis and Project Presentation

| Time | Teaching–Learning Flow | Faculty Role | Student Activity | Evidence / Formative Check |
| --- | --- | --- | --- | --- |
| 0–8 min | Revisit the project success criteria: accurate classification, labelled sketch, practical recommendations, and clear technical justification. | Brief teams and clarify expected presentation evidence. | Organise project materials and assign speaking roles. | Project readiness checklist. |
| 8–18 min | Give a concise deductive consolidation of the relationship among conduction, convection, radiation, thermal conductivity, and airflow. | Use one integrated room-AC diagram to connect all concepts. | Ask and answer clarification questions. | Rapid concept quiz. |
| 18–35 min | Team presentations of the Heat-Gain and Airflow Improvement Brief. | Facilitate, time presentations, and use formative rubric feedback. | Present annotated room sketch, identify heat-transfer modes, and justify recommendations. | Group presentation rubric. |
| 35–43 min | Comparative critique: students identify one strong idea and one improvement opportunity in another team’s work. | Guide critique toward evidence and technical reasoning. | Provide structured peer feedback. | Peer-feedback form. |
| 43–48 min | Individual problem-solving question: “A room has a sun-facing window, an exposed roof, a blocked indoor-unit air path, and restricted outdoor airflow. Analyse the likely heat-transfer concerns and prioritise two corrective actions.” | Assess individual transfer of learning. | Write a technically justified response. | Individual written response. |
| 48–50 min | Final reflection and debrief. | Connect conceptual understanding to later VCRC and installation learning. | Complete: “The project changed my understanding of room cooling because…” | Reflection entry. |

### Suggested Assessment Evidence

- Annotated room heat-gain and airflow sketch

- Thermal-conductivity comparison table

- Cause-and-effect maps for free and forced convection

- Team project brief and oral presentation

- Individual integrated problem-solving response

- Reflective learning log

This sequence keeps the theory rigorous while ensuring that each concept is applied progressively to one tangible project output. As John Dewey observed, “Education is not preparation for life; education is life itself.” This is BSDU’s Active and Experiential Learning in action: Learn, Practice, Perform. Succeed.