| Faculty/Department: | Faculty of Mechanical and Manufacturing Engineering |
| --- | --- |
| Program: | B.Voc. in Refrigeration and HVAC Technology |
| Year: | 1st |
| Semester: | I |
| Course Name: | HVAC Mathematics, Principles and Tools |
| Course Code: | RH1101 |
| Author(s): |  |
| Reviewer(s): |  |
| Final Review Date: |  |
| Approved By: |  |

BHARTIYA SKILL DEVELOPMENT UNIVERSITY

Main Campus: Plot No. S1/INST/001, Social Infrastructure Zone, Mahindra World City, Off Ajmer Road, Jaipur, Rajasthan – 302037

Old Campus: Plot 001-002, DTA, Mahindra World City, Off Ajmer Road, Jaipur - 302042

www.ruj-bsdu.in | +91 91166 11131

Course Description

| Course Name | HVAC Mathematics, Principles and Tools |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Course Code | RH1101 |  |  |  |  |  |  |  |  |
| Relevant Job Roles and Entrepreneurship Opportunities (If any) | - HVAC Supervisor Assistant |  |  |  |  |  |  |  |  |
| Relevant QP’s | - ELE/Q3102: Field Technician - Air Conditioner (NSQF 4, V 4.0, on the scale of 10 or 8) |  |  |  |  |  |  |  |  |
| Relevant SDG (If any) | - SDG 9: Industry, Innovation, and Infrastructure |  |  |  |  |  |  |  |  |
| Relevant Standards (If any) | - IS 3615: 2024 - Glossary of Terms Used in Refrigeration and Air Conditioning |  |  |  |  |  |  |  |  |
| Competencies | - Use basic mathematics, measurements, and technical data to support HVAC installation planning, site assessment, and supervised field activities. - Explain basic refrigeration, air-conditioning, heat-transfer, and system operating principles to support the selection, positioning, and interconnection of room AC units under supervision. - Inspect, verify, and prepare AC units, accessories, and installation resources through systematic checks using safe workshop and field practices. - Demonstrate the selection and safe use of standard HVAC installation and servicing tools, including relevant smart tools, for supervised installation of window, split, and inverter AC systems. - Perform the positioning, mounting, and interconnection of indoor and outdoor AC units by following the correct installation sequence, copper piping practices, cable interconnections, and supervised installation procedures. |  |  |  |  |  |  |  |  |
| Related WorldSkills Competition | - Refrigeration and Air-Conditioning |  |  |  |  |  |  |  |  |
| Course Outcomes | After completion of the course, the student will be able to: CO1: Apply basic mathematical concepts, unit conversions, measurement principles, and elementary technical data to solve simple HVAC-related quantitative and installation-support problems. CO2: Interpret basic heat-transfer, refrigeration, air-conditioning, and vapour compression refrigeration cycle (VCRC) principles in the context of room AC system operation and installation. CO3: Analyse installation requirements by interpreting supervisor instructions, assessing site conditions, and relating site constraints to suitable AC-unit placement. CO4: Examine the AC unit, package condition, model compatibility, and supporting accessories through systematic pre-installation checks. CO5: Employ suitable HVAC hand tools and relevant smart tools safely for supervised workshop and installation activities involving window, split, and inverter AC systems. CO6: Execute the basic procedure for positioning, securing, and interconnecting indoor and outdoor AC units, including elementary copper-pipe installation and cable interconnections, under guided conditions. |  |  |  |  |  |  |  |  |
| Course Structure | Total Contact Hrs. (LTP) |  | Days | Total L&T Hrs. |  | Total P Hrs. | Total SL Hrs. |  | Credits |
|  | 60 |  | - | 30 |  | 30 | 75 |  | 3 |
| Assessment Scheme |  |  |  |  |  |  |  |  |  |
| Component | Sub-Component | No. of Exams |  |  | Marks |  |  | Weightage |  |
| Continuous Assessment (CA) | Written Exams | 2 |  |  | 15 |  |  | 30 |  |
|  | Assignments | 2 |  |  | 5 |  |  | 10 |  |
|  | Practical Works | 2 |  |  | 10 |  |  | 20 |  |
|  | Viva Voce | 1 |  |  | 10 |  |  | 10 |  |
| Terminal Assessment (TA) | Written Exam | 1 |  |  | 30 |  |  | 30 |  |
|  | Total | 08 |  |  |  |  |  | 100 |  |
| References | - Aggarwal, R. S. (2008). Quantitative Aptitude. S. Chand. - Holman, J.P. (1977). Heat transfer. McGraw Hill Book Company. - Arora, C. P. (2021). Refrigeration and air conditioning (4th ed.). McGraw Hill. - Silberstein, E., Obrzut, J., Tomczyk, J., Whitman, W. C., & Johnson, W. M. (2021). Refrigeration & air conditioning technology. Cengage. |  |  |  |  |  |  |  |  |

Detailed Syllabus

| Sr. No | Name of Unit | Content | Hrs. |
| --- | --- | --- | --- |
|  | Basic of Mathematics | K1- Basic of Algebra: BODMAS Rule, Ratio, Proportion, Solving linear equation of two unknowns by graphical method, Percentage, Average, etc. K2- Decimal Number Calculations, Conversion of Number Systems, Unit Conversion (SI and FPS). IKS1- Indian Mathematics – Ganita. | 5 |
|  |  | A1- Practice of Unit conversion on MS Excel. | 4 |
|  | Geometry and Statistics | K1- Terms - Area, Perimeter in: 2D Shape. K2- Terms - Volume and Surface Area in: 3D Shape. K3- Introduction to Statistics: Collection and presentation of data – tabular form, mean, median, mode of ungrouped and grouped data. IKS1- Indian Mathematics – Ganita, Geometry (Kshetra Ganita), Mensuration and Solid Geometry. IKS2- Indian Mathematics – Ganita, Statistics and Data Interpretation, Combinatorics and Logical Reasoning. | 8 |
|  |  | A1- Practice of areas and volume formulas on MS Excel. A2- Organize raw data and calculate Mean, Median, and Mode using Excel formulas. | 9 |
|  | Basics of heat transfer | K1- Definition and modes of heat transfer. K2- Thermal conductivity of solid, liquid and gases. K3- Free and forced convection. IKS1- Traditional Engineering and Technology (Vishwakarma Tradition). | 7 |
|  |  | A1- Demonstration of free and forced convection. | 5 |
|  | VCRC cycle | K1- Difference between refrigeration and air-conditioning. K2- VCRC cycle. IKS1- Traditional Engineering and Technology . | 5 |
|  |  | A1- Component identifications of VCRC cycle. | 4 |
|  | Introduction to HVAC Tools and Safety | K1- Introduction of tools used in Installation and servicing of HVAC machines. K2- Introduction of Tools used in Sheet metal and duct work and their safety. IKS1- Traditional Engineering and Technology (Vishwakarma Tradition), Metal Fabrication and Craftsmanship. | 5 |
|  |  | A1- Using appropriate tools in various works like Installation and servicing. A2- Using appropriate tools used in maintenance and troubleshooting of HVAC machines. | 8 |
|  | Total |  | 60 |

Examples of Practical Exercises

### Exercise 1: Number System and Unit Conversion Practical

Task:

- Convert decimal numbers into binary and hexadecimal.

- Convert 5 km to meters and 2500 g to kg.

- Convert 10 feet to meters (FPS to SI).

### Exercise 2(a): Geometry Measurement Practical

Task:

- Calculate:

- Area of circle (r = 7 cm)

- Perimeter of rectangle (l = 10 cm, b = 5 cm)

- Volume of cube (side = 4 cm)

- Verify answers using calculator/Excel

### Exercise 2(b): Statistics Practical (Excel Based)

Task:

- Enter marks of 15 students and find:

- Mean

- Median

- Mode

### Exercise 3: Identification of components of VCR Cycle

### Task:

- Identify compressor, condenser, evaporator, and expansion device.

- Trace refrigerant flow direction.

- Record operating pressures.

Examples of Problem-Solving Tasks

### Task 1: Salary Calculation Task

- A worker earns ₹12,000 and gets 10% increment. Find new salary and average monthly income for 3 months

### Task 2: Student Data Analysis Task

- Class marks: 40, 55, 60, 75, 80. Find average and interpret performance.

### Task 3: Room is not cooling properly despite compressor running.

- Analyse possible heat transfer issue.

- Check airflow (forced convection).

- Inspect condenser cleanliness.

- Suggest corrective measures.

Examples of Problem-Solving Questions

- A refrigerant blend contains Refrigerant A and Refrigerant B in the ratio 9:1.
Total mixture = 600 grams.

- Find the quantity of each refrigerant.

- If the proportion of Refrigerant B increases to 20%, how much additional Refrigerant B must be added?

- A cylindrical water storage tank used for cooling has radius=0.6 m and height=1.5 m

- Calculate the volume in cubic meters

- Convert the volume into litres.

- A refrigeration system operates at an evaporator temperature of –10°C.

- Convert the temperature into °F and Kelvin.

- Explain why negative temperature values are common in refrigeration.

State why Kelvin scale is used in thermodynamic calculations.

| Course Name: | HVAC Mathematics, Principles and Tools |
| --- | --- |
| Course Code: | RH1101 |

Study Material-I: Unit-Content-Wise Resources

- Aggarwal, R. S. (2008). Quantitative Aptitude. S. Chand.

- Holman, J.P. (1977). Heat transfer. McGraw Hill Book Company.

- Arora, C. P. (2021). Refrigeration and air conditioning (4th ed.). McGraw Hill.

- Silberstein, E., Obrzut, J., Tomczyk, J., Whitman, W. C., & Johnson, W. M. (2021). Refrigeration & air conditioning technology. Cengage.

- NPTEL link

| # Unit and Unit Name | # Contents | # Topic name | # Primary Resource(s) | # Additional Resources |
| --- | --- | --- | --- | --- |
| # I- Basic of Mathematics | K1 | Basic of Algebra: BODMAS Rule, Ratio, Proportion, Solving linear equation of two unknowns by graphical method, Percentage, Average, etc. | B1: Section 1 Units- 1,6,7,8,11 and 13. |  |
|  | K2 | Decimal Number Calculations, Conversion of Number Systems, Unit Conversion (SI and FPS). | B1: Section 1 Units- 3,4,18,19 and 20. |  |

| # Unit and Unit Name | # Contents | # Topic name | # Primary Resource(s) | # Additional Resources |
| --- | --- | --- | --- | --- |
| # II- Geometry and Statistics | K1 | Area, Perimeter in: 2D Shape. | B1: Section 1 Unit- 24. |  |
|  | K2 | Volume and Surface Area in: 3D Shape. | B1: Section 1 Unit- 25. |  |
|  | K3 | Introduction to Statistics: Collection and presentation of data – tabular form, ungrouped/ grouped, bar graphs, mean, median, mode of ungrouped and grouped data. | B1: Section 2 Units- 36,37,38 and 39. |  |

| # Unit and Unit Name | # Contents | # Topic name | # Primary Resource(s) | # Additional Resources |
| --- | --- | --- | --- | --- |
| # III- Basics of heat transfer | K1 | Definition and modes of heat transfer. | B2: Chapter 1 Subsections- 1-1, 1-3, and 1-4. | # SWAYAM VIDEO: Introduction to Heat Transfer |
|  | K2 | Thermal conductivity of solid, liquid and gases. | B2: Chapter 1 Subsections- 1-2. | SWAYAM VIDEO: Introduction to Heat Transfer |
|  | K3 | Free and forced convection. | B2: Chapter 6 and 7. | SWAYAM VIDEO: Introduction to Heat Transfer |

| # Unit and Unit Name | # Contents | # Topic name | # Primary Resource(s) | # Additional Resources |
| --- | --- | --- | --- | --- |
| # IV- VCRC cycle | K1 | Difference between refrigeration and air-conditioning. | B3: Chapter 2 and 14 Subsections- 2.1 and 14.1. | # SWAYAM VIDEO: Refrigeration and Air Conditioning |
|  | K2 | VCRC cycle. | B3: Chapter 3 Subsections- 3.2 and 3.3. | # SWAYAM VIDEO: Refrigeration and Air Conditioning |

| # Unit and Unit Name | # Contents | # Topic name | # Primary Resource(s) | # Additional Resources |
| --- | --- | --- | --- | --- |
| # V- Introduction to HVAC Tools and Safety | K1 | Introduction of tools used in Installation and servicing of HVAC machines. | B4: Section 2 Unit 5 |  |
|  | K2 | Introduction of Tools used in Sheet metal and duct work and their safety. | B4: Section 2 Unit 5 |  |

Study Material-II: Unit-Content-Wise Notes

Study Material-III: Unit-Content-Wise Activities (Including Worksheets)

Problem: Airflow Calculation for a Classroom

A classroom requires 1.2 m³/s of conditioned air. The air is supplied through a rectangular duct. The design air velocity in the duct is 4 m/s.

Questions:

- Calculate the required cross-sectional area of the duct.

- If the duct width is 0.40 m, calculate the required duct height.

- If the air velocity is increased to 6 m/s, calculate the new required duct area.